## Slide 1
GBOV (Ground-Based Observation for Validation): A Copernicus service for the validation of Land products
C. Lerebourg, G. Bai, E. Ronco, V. Bruniquel (ACRI-ST, France)
J. Dash, L. Brown, H. Morris (U. of Southampton, UK)
D. Ghent, E. Dodd (U. of Leicester)
P. Muller, R. Song (U. College London)
E. Lopez-Baeza (U. of Valencia)
M. Clerici, N. Gobron (JRC, Italy)
09/05/2019

## Slide 2: GBOV’s objectives
GBOV aims at facilitating the use of observations from operational ground-based monitoring networks and their comparison to Earth Observation products
Component 1
  Collection of multi-year ground-based observations of high relevance for the understanding of land surface processes from existing global networks.
Component 2
  Upgrade of existing sites with new instrumentation or establishing entirely new monitoring sites to close thematic or geographic gaps.
Component 3
  Implementation and maintenance of a database for the distribution of Reference Measurements (RMs) and the corresponding Land Products (LPs ; match-ups)
  LP are derived to match CGLS products
  LP only should be used for EO products validation

## Slide 3: Ground-Based Observations for Validation (GBOV)
Land Monitoring Service
    https://land.copernicus.eu
GBOV is attached to the GLOBAL land monitoring service
    https://land.copernicus.eu/global
And is accessible under the “Groundbased” tab
    https://land.copernicus.eu/global/gbov
    https://gbov.acri.fr
@CopernicusGBOV

## Slide 4
Component 1
Collection of ground data from existing sites

## Slide 5
Data base summary

## Slide 6
Data base summary

## Slide 7: Data base summary
  53 sites
    20 short wave sites (LP1 & LP2)
    20 vegetation sites (LP3, 4 & 5)
    10 soil moisture sites (LP6)
    13 LST sites (LP7)
  2 <= time series <= 4years
    To be extended in phase 2

## Slide 8: Short wave products RM1,3 & LP1,2

## Slide 9: GBOV short wave radiometry
2 Reference Measurements (RMs) and 2 Land Products (LPs)
https://land.copernicus.eu/global/gbov/public/docs/products/GBOV-ATBD-RM1-LP1-LP2_v1.2-Energy.pdf
Reference Measurements
RM-1 short wave radiation
RM-2 thermal radiation
RM-3 Atmospheric properties
RM-4 Transmission through canopy
RM-5 Soil BRF/BHR/DHR
RM-6 FIPAR
RM-7 LAI
RM-8 LES
RM-9 Surface Temperature
RM-10 Soil moisture
RM-11 Meteo properties
Land Products
LP-1 Surface Reflectance
LP-2 Surface Albedo
LP-3 LAI
LP-4 FAPAR
LP-5 Fcover
LP-6 Soil moisture
LP-7 LST
SurfRad

## Slide 10
  20 sites in total:
    FLUXNET (10 sites)
    SURFRAD (7 sites)
    BSRN (3 sites)
GBOV short wave radiometry

## Slide 11
Reference Measurements
Land Products (1km)
3km
GBOV short wave radiometry

## Slide 12: Status and plan for 2019
Status
  LP1 960 (macropixels)
  LP2 960 (macropixels)
Plan
  Extension of the data base up to December 2018

## Slide 13: Vegetation Products RM4,5,6,7 & LP3,4,5

## Slide 14: GBOV VEGETATION
4 Reference Measurements (RMs) and 3 Land Products (LPs)
  https://land.copernicus.eu/global/gbov/public/docs/products/GBOV-ATBD-RM4-RM6-RM7_v1.2-Vegetation.pdf
  https://land.copernicus.eu/global/gbov/public/docs/products/GBOV-ATBD-LP3-LP4-LP5_v1.2-Vegetation.pdf
Reference Measurements
RM-1 short wave radiation
RM-2 thermal radiation
RM-3 Atmospheric properties
RM-4 Transmission through canopy
RM-5 Soil BRF/BHR/DHR
RM-6 FIPAR
RM-7 LAI
RM-8 LES
RM-9 Surface Temperature
RM-10 Soil moisture
RM-11 Meteo properties
Land Products
LP-1 Surface Reflectance
LP-2 Surface Albedo)
LP-3 LAI
LP-4 FAPAR
LP-5 Fcover
LP-6 Soil moisture
LP-7 LST
DHP

## Slide 15
GBOV VEGETATION
  20 NEON sites

## Slide 16
Reference Measurements
Land Products
    including quality indicators and uncertainties
20m res
300m res
300m res WGS84
3km
GBOV VEGETATION

## Slide 17: Exemple of GBOV LAI time series
Bartlett Experimental Forest
  IGBP : Mixed Forest
  Biome: Temperate broadleaf and mixed forests
  LandCoverClass: Tree cover, mixed leaf type
Disney Wilderness Preserve
  IGBP : Woody Savanna
  Biome: Temperate conifer forests
  LandCoverClass: Grassland

## Slide 18: Status and plan for 2019
50673 DHP images processed to generate 7755 RMs (2585 each)
RMs upscaled to generate 2,232 LPs between 2013 and 2017
  LP-3 (LAI) 744 LP-4 (FAPAR) 744 LP-5 (FCOVER) 744
In comparison, the existing CEOS LPV validation database for vegetation (DIRECT 2.0) contains just 242 samples
Plan
  Extension of the data base up to December 2018
  Improvements of uncertainties

## Slide 19: Soil Moisture products RM10,11 & LP6

## Slide 20: GBOV Soil Moisture
2 Reference Measurements (RMs) + 1 Land Product (LP)
  https://land.copernicus.eu/global/gbov/public/docs/products/GBOV-ATBD-RM10-RM11-LP6_v1.2_SoilMoisture.pdf
Reference Measurements
RM-1 short wave radiation
RM-2 thermal radiation
RM-3 Atmospheric properties
RM-4 Transmission through canopy
RM-5 Soil BRF/BHR/DHR
RM-6 FIPAR
RM-7 LAI
RM-8 LES
RM-9 Surface Temperature
RM-10 Soil moisture
RM-11 Meteo properties
Land Products
LP-1 Surface Reflectance
LP-2 Surface Albedo)
LP-3 LAI
LP-4 FAPAR
LP-5 Fcover
LP-6 Soil moisture
LP-7 LST

## Slide 21: Soil Moisture
10 sites over Europe, North America and Australia

## Slide 22: Soil Moisture
Reference Measurements
Land Products
  3 SSM (recommended to use TDVI)
  8 SWI (1, 5, 10, 15, 20, 40, 60 &100cm)

## Slide 23: Exemple of SSM time series
Comparison of the three proposed methods over the Valencia Anchor Station (2014)

## Slide 24: Status and plan for 2019
Status
  LP6 480 matchups
Plan
  Extension of the data base up to December 2018
  2 new sites
    Tumbarumba
    Hainich

## Slide 25: Long wave products RM2,8,9 & LP7

## Slide 26: GBOV Land Surface Temperature
3 Reference Measurements (RMs) and 1 Land Product (LP)
  https://land.copernicus.eu/global/gbov/public/docs/products/GBOV-ATBD-RM2-RM8-RM9_v1.3-LST.pdf
  https://land.copernicus.eu/global/gbov/public/docs/products/GBOV-ATBD-LP7_v1.1-LST.pdf
Reference Measurements
RM-1 short wave radiation
RM-2 thermal radiation
RM-3 Atmospheric properties
RM-4 Transmission through canopy
RM-5 Soil BRF/BHR/DHR
RM-6 FIPAR
RM-7 LAI
RM-8 LSE
RM-9 Surface Temperature
RM-10 Soil moisture
RM-11 Meteo properties
Land Products
LP-1 Surface Reflectance
LP-2 Surface Albedo)
LP-3 LAI
LP-4 FAPAR
LP-5 Fcover
LP-6 Soil moisture
LP-7 LST
SurfRad

## Slide 27: GBOV Land Surface Temperature
  13 sites

## Slide 28: Land Surface Temperature
Reference Measurements
Land Products (5km)
  1 daily
  1 night time
  Including uncertainties

## Slide 29
Status
  614 daily matchups
  614 night time matchups
Plan
  Extension of the data base up to December 2018
  2 new sites: Manhatan, Gobabeb
Status and plan for 2019

## Slide 30
Component 2
Installation of new instrumentation on existing sites

## Slide 31: Status and plan for 2019 - 2020
  Upgrade of existing sites with new instrumentation
    Reduce geographical gap (Europe and Australia)
  3 new vegetation sites
    Hainich national park - Broadleaved Deciduous (CEOS LPV supersite)
    Valencia Anchor station - Mediterranean crop
    Tumbarumba - Broadleaved Evergreen (CEOS LPV supersite)

## Slide 32
  Reference Measurements
  Continuous
    PAR network (all sites) Apogee SI121
    Automated Hemispherical camera (on Hainich site)
  Field visits (all sites, at least 12 times during year)
    LAI (LiCor)
    Digital Hemispherical Photographs
GBOV Vegetation
Unique Setup!

## Slide 33
  Reference Measurements
  Continuous LST on Tumbarumba and Hainich
    LW_in (Apogee SI121) and
    LW_out (Heitronics KT15.85)
  Field visit (at least 12 times during year)
    LSE & LST Cimel 312
GBOV LST

## Slide 34: GBOV aerosol
  Reference Measurements
  Continuous on Hainich and Tumbarumba
    AOT + VSF (Cimel 318 ; to be attached to AERONET)

## Slide 35: Valencia Anchor station
PI Ernesto Lopez Baeza (UVEG)
Long term monitored site (IGBP: crop land ; wine yard)
Infrastructure
  15m height tower + small radiometry tower + Eddy convariance station (New)
  Internet connection for communication to be improved
  Powered through solar panels
Field trips are routinely performed by UVEG
  Once a month during winter
  Every two weeks during the growing season
Operational infrastructure used in GBOV includes
  Meteo and Soil moisture data

## Slide 36
Valencia Anchor

## Slide 37
Valencia Anchor

## Slide 38: Valencia Anchor
10/03/17 VINE 1
10/03/17 VINE 2
10/03/17 VINE 3
27/07/17 VINE 3
27/07/17 VINE 2
27/07/17 VINE 1
10/05/18 VINE 1
10/05/18 VINE 2
10/05/18 VINE 3
28/03/18 FRUIT TREE

## Slide 39: Tumbarumba station
PI William Woodgates (CSIRO)
Long term monitored site (IGBP: Evergreen Broadleaf)
Infrastructure
  70m height tower with two platforms
  40m height canopy
  Internet connection on top of the tower  data transfer facilitated
  Power through diesel generator and batteries  no power limitation
Regular field trips are routinely performed
CEOS super site
Operational infrastructure used in GBOV includes
  TOC-R and Albedo
  Soil Moisture in 2019

## Slide 40: Tumbarumba

## Slide 41: Tumbarumba

## Slide 42: Hainich
PI Alexander Knohl & Lukas Siebicke, Uni of Goettingen
Long term monitored site (IGBP: Mixed Forest)
infrastructure
  Flux tower (scaffolding type) height above canopy
  Shed with main power (2° power line available)
  Internet connection
  Main species
    Fagus sylvatica (hêtre commun/Beech
    Fraxinus excelsior (Frêne élevé/ Ash)
Regular field trips are routinely performed
Lidar airborn campains organized every three years
CEOS super site
Operational infrastructure used in GBOV includes
  TOC-R and Albedo
  Soil Moisture in 2019

## Slide 43: Hainich - spring

## Slide 44: Hainich - Summer

## Slide 45
Component 3
Data access and documentation

## Slide 46: Web portal overview
https://land.copernicus.eu/global/gbov
@CopernicusGBOV

## Slide 47: Data usage

## Slide 48: Eight tabs (1)
Fancy images
GBOV news (data release, project events
Conferences
Publications …
Project overview
Site description (country, coordinates, PIs IGBP, Biome, network …

## Slide 49: Eight tabs (2)
Product User Manual, ATBDs, RM and LP definition
Data access page (select variables, sites and time frame
FAQ and link to contact us
GBOV service activity statistics

## Slide 50: GBOV Data Policy
Free and open access
BUT
  Required to acknowledge Copernicus and GBOV service partners
  Offer co-authorship to site captains if their data are used in peer reviewed papers

## Slide 51: Acknowledgments

## Slide 52: Naming convention & Data Format

## Slide 53: Naming convention

## Slide 54: File content